## Humidity Register
FACTORIES ACT, 1948 – STATUTORY COMPLIANCE REGISTER
HUMIDITY REGISTER – PROCESS MONITORING
Rule 16 ¦ Section 15 of Factories Act, 1948
Factory Name: |  |  |  | Factory Registration No.: |  |  |  | Address: |  |  |  | Financial Year:
Sl. No. | Date | Time (AM/PM) | Department / Process Area | Dry Bulb Temp (°C) | Wet Bulb Temp (°C) | Relative Humidity (%) | Standard RH Range (%) | Compliance (Y/N) | Ventilation Status | Cooling System Status | Action Taken if Non-Compliant | Recorded by (Name) | Supervisor Signature | Remarks
1 | 01/06/2024 | 08:00 AM | Weaving Section | 32.5 | 28 | 74 | 65–85% | Yes | Operational | Operational | – | S. Patil | Supervisor Sign
2 | 01/06/2024 | 02:00 PM | Weaving Section | 34 | 30.5 | 79 | 65–85% | Yes | Operational | Operational | – | S. Patil | Supervisor Sign
3 | 02/06/2024 | 08:00 AM | Spinning Section | 33 | 27.5 | 68 | 65–85% | Yes | Operational | Operational | – | R. More | Supervisor Sign
4 | 02/06/2024 | 02:00 PM | Spinning Section | 36 | 33 | 89 | 65–85% | No | Partially Working | Cooling Fan Failure | Portable fans deployed; cooling unit serviced | R. More | Supervisor Sign | Corrective action logged
5 | 03/06/2024 | 08:00 AM | Cotton Mixing Room | 31.5 | 27 | 72 | 65–85% | Yes | Operational | Operational | – | A. Khan | Supervisor Sign
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45